## Slide 1
TRUSTWORTHY CXR CLASSIFICATION
Can lung-guided models look in the right place?
Chest X-ray disease detection • fixed test split • measured claims only
1
Classification • anatomical localisation • actual input dependence
Three-CNN closeout is measured. The matched perturbation experiment is prepared but not yet run.
Ravindu-Pathirana / Chest-X-ray-Disease-Detection • explainable-AI branch

## Slide 2
RESEARCH PROGRESS
The evidence ladder
Chest X-ray disease detection • fixed test split • measured claims only
2
L1 Alignment
Does the learned attention map overlap the lung mask?
L2 Localisation
Does predicted-class Grad-CAM energy move into lungs?
L3 Dependence
Does changing lung versus background content change predictions?
L4 Transfer
Does performance hold on a separately mapped external dataset?
Higher EIL is evidence about heatmap location—not proof of lower background reliance.

## Slide 3
RESEARCH PROGRESS
Fixed data and comparison design
Chest X-ray disease detection • fixed test split • measured claims only
3
21,165 images
Four CXR classes; image-level split because patient identifiers are unavailable.
14,815 / 3,175 / 3,175
Train / validation / test. One committed manifest reused across experiments.
1,000 fixed CAM images
The same subset and image IDs support paired CNN EIL comparisons.
Seed-42 ablations + three matched seeds for the selected CNN pairs.

## Slide 4
RESEARCH PROGRESS
Three candidates, one transparent selection boundary
Chest X-ray disease detection • fixed test split • measured claims only
4
A Residual lung gate
Soft-mask-supervised spatial gate after backbone features. No mask needed at inference.
B Auxiliary segmentation
Full-resolution lung-mask decoder with a classification + BCE/Dice objective.
C Activation penalty
Penalises ReLU feature activation outside lungs during training; not a Grad-CAM loss.
C led the DenseNet classification ablation; A was carried forward for its measured EIL and lightweight transferable gate—not declared a global winner.

## Slide 5
RESEARCH PROGRESS
Three-CNN results: matched-seed means
Chest X-ray disease detection • fixed test split • measured claims only
5
Backbone
A0 → selected
Accuracy Δ
Macro-F1 Δ
EIL Δ
DenseNet121
A0_vanilla → A2_full
+0.02 pp
-0.08 pp
+7.05 pp
ResNet50
A0_vanilla → A3_multiply
-0.42 pp
-0.52 pp
+29.90 pp
EfficientNet-B0
A0 → A3
+0.76 pp
+0.72 pp
+11.33 pp
EIL rose for all three selected arms, while classification changes were mixed. These are anatomical-localisation findings.
Source: artifacts/cnn_closeout/cnn_multiseed_summary.csv

## Slide 6
RESEARCH PROGRESS
Paired image-level EIL gains
Chest X-ray disease detection • fixed test split • measured claims only
6
DenseNet121
Δ EIL +0.077 | 95% CI [+0.074, +0.081]
ResNet50
Δ EIL +0.299 | 95% CI [+0.293, +0.305]
EfficientNet-B0
Δ EIL +0.143 | 95% CI [+0.138, +0.148]
1,000 shared images; 2,000 paired resamples. Retrospective precision analysis, not preregistered.

## Slide 7
RESEARCH PROGRESS
The missing test: matched input dependence
Chest X-ray disease detection • fixed test split • measured claims only
7
Primary interventions
Lung blur ↔ background blur; lung swap ↔ background swap. A fixed different-class donor and equal-pixel-count background control are reused across arms.
Primary measure
TV distance dP = ½ Σ |p(original) − p(perturbed)|. LRG = dP(lung) − dP(background), paired by image and mode.
Implementation and 3,175 donor pairs are ready; no new CXR inference has been run.

## Slide 8
RESEARCH PROGRESS
T35 efficiency: what is measured now
Chest X-ray disease detection • fixed test split • measured claims only
8
Backbone
Params A0 → module
GFLOPs* A0 → module
CPU ms A0 → module
DenseNet121
6.96M → 7.09M
2.86 → 2.87
190 → 193
ResNet50
23.52M → 24.04M
4.11 → 4.14
146 → 157
EfficientNet-B0
4.01M → 4.12M
0.40 → 0.40
60 → 63
ViT-Base/16
85.80M → 85.88M
16.87 → 16.88
317 → 311
Same-session CPU, random-weight architecture benchmark. *FLOPs are partial fvcore estimates; fused attention and other ops were unsupported. Final GPU latency and trained-checkpoint size remain pending.
Source: artifacts/T35_efficiency/architecture_only_efficiency.csv

## Slide 9
RESEARCH PROGRESS
What remains before a full trustworthiness claim
Chest X-ray disease detection • fixed test split • measured claims only
9
Inputs and verification
Primary images + masks; ResNet A0/A3 and ViT weights; secure Kaggle access. Each checkpoint needs strict load, 100-image smoke and reproduced test accuracy.
Measured work still pending
CNN L3 dependence; ViT explanation validation; validation-fitted calibration; RSNA mapping/inference; controlled all-model efficiency; final statistics and figures.
Missing results remain NOT MEASURED—not zero and not inferred from EIL.

## Slide 10
RESEARCH PROGRESS
Takeaway
Chest X-ray disease detection • fixed test split • measured claims only
10
Lung guidance consistently shifted CNN Grad-CAM energy toward lungs.
Whether that shift reduces reliance on background shortcuts is still an empirical question.
Next evidence: matched blur/swap perturbations, paired CIs, then external and efficiency checks.